## 01 P&G
SCHEDULE 1: PRELIMINARY AND GENERAL ITEMS
Item | Description | Unit | Qty | Rate | Amount
1.1 | Preliminary and General Items, pertaining specifically to the Mechanical Installation.
1.1.1 | Compliance with the conditions of contract, contract data, Preliminaries, EMP and all administrative costs and overheads. | Sum | 1 |  | 0
1.1.2 | Insurances | Sum | 1 |  | 0
1.1.3 | Construction Guarantee | Sum | 1 |  | 0
1.1.5 | Liaison with Main Contractor on programming and execution of works. | Sum | 1 |  | 0
1.1.6 | Liaison with other Contractors and Service providers (ie., Electrician, Plumber, etc.) for final co-ordination between services with site management to ensure timeous and correct installation. | Sum | 1 |  | 0
1.1.7 | Contract Management and Site Supervision | Sum | 1 |  | 0
1.1.8 | Nett price to comply with all the requirements of the Health & Safety specification, ie Health and Safety file, Medicals, PPE for the duration of the contract. | Sum | 1 |  | 0
1.1.9 | Compilation of detail Operating and Maintenance Manuals, as-built drawings and documentation as specified and to the satisfaction of the Engineer. 3-off printed copies and 1x electronic version. | Sum | 1 |  | 0
1.1.10 | Training of the Employers staff. | Sum | 1 |  | 0
1.1.11 | 12 months guarantee from date of Practical Completion Certificate. | Sum | 1 |  | 0
1.1.13 | 12 months full maintenance and service of the installation in accordance with manufacturer's and suppliers specifications. | Sum | 1 |  | 0
1.1.14 | Any other P&G items: Contractor to specifiy | Sum | 1 |  | 0
TOTAL FOR SCHEDULE 1: PRELIMINARY AND GENERAL ITEMS
| (CARRIED FORWARD TO FINAL SUMMARY) |  |  |  | 0

## 02 Equip & Material
SCHEDULE 2: HVAC INSTALLATION
Item | Description | Unit | Qty | Rate | Amount
2.1 | VENTILATION SYSTEMS - (Refer to Tender Drawings P8081M02 001, 002 & 003, Technical Specifications for Specific Requirement)
2.1.1 | EX 1 (new) - complete as specified and indicated on the drawings
2.1.1.1 | Fan Assembly | no | 1 |  | 0
2.1.1.2 | 2D sound attenuators | no | 2 |  | 0
2.1.1.3 | System ductwork and air diffusion - complete | no | 1 |  | 0
2.1.1.4 | Installation of complete system | sum | 1 |  | 0
2.1.1.5 | Testing and Commissioning. | no | 1 |  | 0
2.2 | SPLIT AIR CONDITIONING UNITS - (Refer to Tender Drawings P8081M02 001, 002 & 003, Technical Specifications for Specific Requirement)
2.2.1 | R32 Inverter Cassette Split Type - min. 7,1kW capacity (heat pump)
2.2.1.1 | Supply and Deliver | no | 2 |  | 0
2.2.1.2 | Installation of complete system | no | 2 |  | 0
2.2.1.3 | Testing and Commissioning | sum | 2 |  | 0
2.2.2 | R32 Inverter Cassette Split Type - min. 10kW capacity (heat pump)
2.2.2.1 | Supply and Deliver | no | 3 |  | 0
2.2.2.2 | Installation of complete system | no | 3 |  | 0
2.2.2.3 | Testing and Commissioning | sum | 3 |  | 0
2.2.3 | R32 Inverter Cassette Split Type - min. 14kW capacity (heat pump)
2.2.3.1 | Supply and Deliver | no | 3 |  | 0
2.2.3.2 | Installation of complete system | no | 3 |  | 0
2.2.3.3 | Testing and Commissioning | sum | 3 |  | 0
| Carry Forward |  |  |  | 0
| Brought Forward |  |  |  | 0
2.3 | ROOFTOP PACKAGED AIR CONDITIONING UNITS - (Refer to Tender Drawings P8081M02 001, 002 & 003, Technical Specifications for Specific Requirement)
2.3.1 | AC1 - 98 kW Roof top packaged unit
2.3.1.1 | Roof top packaged unit, Supply and Installation | no | 1 |  | 0
2.3.1.2 | Hoisting and Rigging | no | 1 |  | 0
2.3.1.3 | Manufacture, supply and install sheetmetal ducting, externally insulated with 2-layers of bubblewrap insulation, complete with all jointing, sealing, hangers, fixing and brackets. | sum | 1 |  | 0
2.3.1.4 | Extra-Over for lagging and cladding external/exposed ductingwith chromadek sheeting to ensure complete waterproof system. | sum | 1 |  | 0
2.3.1.5 | Return air damper, 1050x1050 | no | 1 |  | 0
2.3.1.6 | Outside air damper, 450x450 | no | 1 |  | 0
2.3.1.7 | Testing and Commissioning. | sum | 1 |  | 0
2.3.2 | AC2 - 88 kW Roof top packaged unit
2.3.2.1 | Roof top packaged unit, Supply and Installation | no | 1 |  | 0
2.3.2.2 | Hoisting and Rigging | no | 1 |  | 0
2.3.2.3 | Manufacture, supply and install sheetmetal ducting, externally insulated with 2-layers of bubblewrap insulation, complete with all jointing, sealing, hangers, fixing and brackets. | no | 1 |  | 0
2.3.2.4 | Extra-Over for lagging and cladding external/exposed ductingwith chromadek sheeting to ensure complete waterproof system. | sum | 1 |  | 0
2.3.2.5 | Return air damper, 900x900 | no | 1 |  | 0
2.3.2.6 | Outside air damper, 450x300 | no | 1 |  | 0
2.3.2.7 | Testing and Commissioning. | sum | 1 |  | 0
| Carry Forward |  |  |  | 0
| Brought Forward |  |  |  | 0
2.3.3 | AC3 - 53 kW Roof top packaged unit
2.3.3.1 | Roof top packaged unit, supply and Installation | no | 1 |  | 0
2.3.3.2 | Hoisting and Rigging | no | 1 |  | 0
2.3.3.3 | System ductwork, internally insulated with 25mm thick sonic liner, supply and Installation | no | 1 |  | 0
2.3.3.4 | Extra-Over for lagging and cladding external/exposed ducting, supply and Installation | sum | 1 |  | 0
2.3.3.5 | Return air damper, 300x600 | no | 1 |  | 0
2.3.3.6 | Outside air damper, 300x600 | no | 1 |  | 0
2.3.3.7 | Testing and Commissioning. | sum | 1 |  | 0
2.3.4 | AC4 - 50 kW Roof top packaged unit
2.3.4.1 | Roof top packaged unit, Supply and Installation | no | 1 |  | 0
2.3.4.2 | Hoisting and Rigging | no | 1 |  | 0
2.3.4.3 | Manufacture, supply and install sheetmetal ducting, externally insulated with 2-layers of bubblewrap insulation, complete with all jointing, sealing, hangers, fixing and brackets. | no | 1 |  | 0
2.3.4.4 | Extra-Over for lagging and cladding external/exposed ductingwith chromadek sheeting to ensure complete waterproof system. | sum | 1 |  | 0
2.3.4.5 | Return air damper, 900x600 | no | 1 |  | 0
2.3.4.6 | Outside air damper, 300x300 | no | 1 |  | 0
2.3.4.7 | Testing and Commissioning. | sum | 1 |  | 0
2.4 | CORROSION TREATMENT
2.4.1 | All Condensing units to be corrosion treated with Bluchem
2.4.1.1 | Rooftop Packaged units | no | 4 |  | 0
2.4.1.2 | Split Units units | no | 8 |  | 0
2.4.1.3 | On site touch up | sum | 1 |  | 0
| Carry Forward |  |  |  | 0
| Brought Forward |  |  |  | 0
2.5 | ELECTRICAL
2.5.1 | Electrically connect, test and verify power supply to the following equipment as specified
2.5.1.1 | Rooftop Packaged units | no | 4 |  | 0
2.5.1.2 | Split Units | no | 8 |  | 0
2.5.1.3 | Ventilation Fan | no | 1 |  | 0
2.5.1.4 | Electrical COC for the HVAC installation | no | 1 |  | 0
2.6 | CONTROLS & CONTROL WIRING
2.6.1 | Supply and install, including connection, control wiring between Control Panels, field devices and equipment. Wiring to run in 20mm PVC conduit with flexible connenctions to each device/terminal.
2.6.1.1 | Rooftop Packaged units | no | 4 |  | 0
2.6.1.2 | Split Units | no | 8 |  | 0
2.6.1.3 | EX1 | sum | 1 |  | 0
2.7 | FIRE DAMPERS
2.7.1 | 1050 x 1050 | no | 1 |  | 0
2.7.2 | 900x 900 | no | 1 |  | 0
2.7.3 | 900 x 600 | no | 2 |  | 0
2.8 | REMOVAL OF REDUNDANT SERVICES
2.8.1 | Make safe and removal of 4-off existing Air Handling Units. | sum | 1 |  | 0
2.8.2 | Removal of existing ventilation ducting in basement plant room. | sum | 1 |  | 0
2.8.3 | Removal of existing ventilation duct risers. | sum | 1 |  | 0
2.8.4 | Removal of redundant split units | no | 7 |  | 0
2.9 | SUNDRY ITEMS
2.9.1 | Hanger bracket to securly support and fix all the equipment, wire baskets and refrigerant piping | sum | 1 |  | 0
2.9.2 | uPVC insulated condensate drains | sum | 1 |  | 0
| Carry Forward |  |  |  | 0
| Brought Forward |  |  |  | 0
2.9.5 | Supply and install 350x350mm aluminium door grilles | no | 20 |  | 0
2.9.6 | Cold Galv spray / paint | sum | 1 |  | 0
2.9.7 | 2 x 600 x 600 Alu white powder coated egg crate complete with plenum boxes and 150mm dia aluflex ducting (per transfer station) | no | 3 |  | 0
2.10 | Any other items: Contractor to specifiy
2.10.1 |  | sum | 1 |  | 0
2.10.2 |  | sum | 1 |  | 0
2.10.3 |  | sum | 1 |  | 0
2.10.4 |  | sum | 1 |  | 0
2.10.5 |  | sum | 1 |  | 0
TOTAL FOR SCHEDULE 2: HVAC INSTALLATION
| (CARRIED FORWARD TO FINAL SUMMARY) |  |  |  | 0

## 03 Provisional Sums
SCHEDULE 03: PROVISIONAL SUMS
Item | Description | Unit | Qty | Rate | Amount
3.1 | Allow for the following Provisional Sums:
3.1.1 | BMS integration of HVAC equipment | Prov Sum |  |  | 25000
3.1.2 | Profit and attendance on item 3.1.1 above | % |  | 25000 | 0
3.1.3 | Design Refinement | Prov Sum |  |  | 50000
3.1.4 | Profit on item 3.1.3 above | % |  | 50000 | 0
3.1.5 | Special Price Adjustment | Prov Sum |  |  | 25000
3.1.6 | Profit on item 3.1.5 above | % |  | 25000 | 0
TOTAL FOR SCHEDULE 03: PROVISIONAL SUMS
| (CARRIED FORWARD TO FINAL SUMMARY) |  |  |  | 0

## Summary
SUMMARY
Bill no 1: Preliminary and General | R | 0
Bill no 2: Siteworks and Supervision | R | 0
Bill no 3: L.V Reticulation | R | 0
Sub-Total A - VAT excluded | R | 0
Contingency (5%) | R | 0
Sub-Total B - VAT excluded | R | 0
Add 15% VAT here |  | 0
Total VAT included carry to tender form | R | 0
COMPLIANCE
I/We tender for the execution of the service as described herein and in accordance with the Conditions in documents specially mentioned therein, the contents of all of which I/we acknowledge myself/ourselves to be fully acquainted.
_______________________________
SIGNATURE OF TENDERER | DATE
TENDERER'S ADDRESS
CONTACT PERSON
TELEPHONE NUMBER
FAX NUMBER :
E-MAIL